## System 1
Building Name: |  |  | Directions: These are the minimum fields required for Toshiba Carrier Touchscreen. For Toshiba Carrier BACnet; zone, room, model and addresses not required. To use Toshiba Creation File Software, fill in all spaces. If multi module outdoor arrangement, provide combined capacity model number. Tabs at bottom of document will allow up to 10 systems, if more are needed, modify document or use multiple files.
Indoor Unit Qty.:
IP Address:
Subnet Mask:
Default Gateway:
Outdoor Unit Md. | Refrigerant Network Address
Zone Name/Type:
The “Zone Name/Type” is used to break up the systems, but area or floor. This is for the Toshiba Carrier Touchscreen and is optional. This field is to help group the icons on the Touchscreen display once the file is uploaded. Example, Group all IDU’s (even from separate systems) by floors or an area such as Cafeteria.
Room Name | Model Number | IDU Address | Central Address | Port #

## System 2
Outdoor Unit Md. | Refrigerant Network Address
Zone Name/Type:
The “Zone Name/Type” is used to break up the systems, but area or floor. This is for the Toshiba Carrier Touchscreen and is optional. This field is to help group the icons on the Touchscreen display once the file is uploaded. Example, Group all IDU’s (even from separate systems) by floors or an area such as Cafeteria.
Room Name | Model Number | IDU Address | Central Address | Port #

## System 3
Outdoor Unit Md. | Refrigerant Network Address
Zone Name/Type:
The “Zone Name/Type” is used to break up the systems, but area or floor. This is for the Toshiba Carrier Touchscreen and is optional. This field is to help group the icons on the Touchscreen display once the file is uploaded. Example, Group all IDU’s (even from separate systems) by floors or an area such as Cafeteria.
Room Name | Model Number | IDU Address | Central Address | Port #

## System 4
Outdoor Unit Md. | Refrigerant Network Address
Zone Name/Type:
The “Zone Name/Type” is used to break up the systems, but area or floor. This is for the Toshiba Carrier Touchscreen and is optional. This field is to help group the icons on the Touchscreen display once the file is uploaded. Example, Group all IDU’s (even from separate systems) by floors or an area such as Cafeteria.
Room Name | Model Number | IDU Address | Central Address | Port #

## System 5
Outdoor Unit Md. | Refrigerant Network Address
Zone Name/Type:
The “Zone Name/Type” is used to break up the systems, but area or floor. This is for the Toshiba Carrier Touchscreen and is optional. This field is to help group the icons on the Touchscreen display once the file is uploaded. Example, Group all IDU’s (even from separate systems) by floors or an area such as Cafeteria.
Room Name | Model Number | IDU Address | Central Address | Port #

## System 6
Outdoor Unit Md. | Refrigerant Network Address
Zone Name/Type:
The “Zone Name/Type” is used to break up the systems, but area or floor. This is for the Toshiba Carrier Touchscreen and is optional. This field is to help group the icons on the Touchscreen display once the file is uploaded. Example, Group all IDU’s (even from separate systems) by floors or an area such as Cafeteria.
Room Name | Model Number | IDU Address | Central Address | Port #

## System 7
Outdoor Unit Md. | Refrigerant Network Address
Zone Name/Type:
The “Zone Name/Type” is used to break up the systems, but area or floor. This is for the Toshiba Carrier Touchscreen and is optional. This field is to help group the icons on the Touchscreen display once the file is uploaded. Example, Group all IDU’s (even from separate systems) by floors or an area such as Cafeteria.
Room Name | Model Number | IDU Address | Central Address | Port #

## System 8
Outdoor Unit Md. | Refrigerant Network Address
Zone Name/Type:
The “Zone Name/Type” is used to break up the systems, but area or floor. This is for the Toshiba Carrier Touchscreen and is optional. This field is to help group the icons on the Touchscreen display once the file is uploaded. Example, Group all IDU’s (even from separate systems) by floors or an area such as Cafeteria.
Room Name | Model Number | IDU Address | Central Address | Port #

## System 9
Outdoor Unit Md. | Refrigerant Network Address
Zone Name/Type:
The “Zone Name/Type” is used to break up the systems, but area or floor. This is for the Toshiba Carrier Touchscreen and is optional. This field is to help group the icons on the Touchscreen display once the file is uploaded. Example, Group all IDU’s (even from separate systems) by floors or an area such as Cafeteria.
Room Name | Model Number | IDU Address | Central Address | Port #

## System 10
Outdoor Unit Md. | Refrigerant Network Address
Zone Name/Type:
The “Zone Name/Type” is used to break up the systems, but area or floor. This is for the Toshiba Carrier Touchscreen and is optional. This field is to help group the icons on the Touchscreen display once the file is uploaded. Example, Group all IDU’s (even from separate systems) by floors or an area such as Cafeteria.
Room Name | Model Number | IDU Address | Central Address | Port #